## Slide 1: Improving the energy balance of an integrated wastewater treatment process
Francesco Ometto ATWARM Conference – Dublin
15th May 2013

## Slide 2
Wastewater
AD
Clarified Water
Algal treatment
Energy
generation
Residual
N and P
Project aim
The aim of this work was to evaluate the energy demand and balance of an integrated microalgal wastewater treatment plant using different hypothetical scenarios.
Activated Sludge
(AS)
Raceway Algae Pond
Harvesting unit
Pre-
treatment
Anaerobic
Digestion

## Slide 3
Chart: mg mg-1
| EXP | ST | EXP | ST | EXP | ST | EXP | ST | EXP | ST | ST | Scenedesmus obliquus | Chlorella vulgaris | Chlorella vulgaris* | Microcystis aeruginosa* | Asterionella formosa* | Arthrospira maxima
Carbohydrates:DOC | 1.99 | 1.69 | 1.3 | 0.92 | 0.9 | 1.15 | 1 | 0.75 | 0.9 | 0.8 | 0.387
Proteins:DOC | 0.85 | 1.91 | 0.95 | 0.4 | 0.55 | 0.4 | 0.45 | 0.7 | 0.1 | 0.1 | 0.05
Proteins:Carbohydrates | 0.43 | 1.24 | 1 | 0.43 | 0.6 | 0.4 | 0.3 | 0.6 | 0.1 | 0.2 | 0.135
Particle size/shape
AOM (Algogenic Organic Matter)
HARVESTING ISSUES
S. obliquus
C. vulgaris
A. maxima

## Slide 4
Sludge scraper
Floc & bead aggregate
Hydrocyclone to separate floc and bead
Separated beads leave from top & are recycled
Flocculated material sinks to
be removed from the base
Bead recycle line
Bead pump
Recycled bead are
introduced at base of
flocculation zone
Micro beads
New bead added to make up for any loss during recycle
Clarified water
Harvesting
BDAF - Ballasted Dissolved Air Flotation
(0.04 kWh m-3)
60-80% less energy compare to DAF
HARVESTING

## Slide 5
DAF vs BDAF performance
S. obliquus cultivated in Jaworski Media
Chart: Dose (mgAl l-1)
| 1 | 2 | 3 | 4 | 5 | 8 | 10 | 15 | 20 | 25 | 30 | 35 | 40 | 45
pH 5 | 0.19003 | 0.47975 | 0.66667 | 0.75701 | 0.89097 | 0.96573 | 0.95016 | 0.95016 | 0.95327 | 0.98131
pH 7 | 0.26791 | 0.55452 | 0.81931 | 0.95327 | 0.96262 | 0.93146 | 0.95639 | 0.97196 | 0.94081 | 0.98442
pH 9 | 0.17888 | 0.52155 | 0.625 | 0.77802 | 0.87931 | 0.89009 | 0.93319 | 0.95474 | 0.96983 | 0.99353
40% reduction on coagulant addition
DAF
Chart: Dose (mgAl l-1)
| 1 | 1.5 | 2 | 2.5 | 3 | 4 | 5 | 6 | 8 | 10 | 12 | 15 | 18 | 20 | 22 | 25 | 30
pH 5 | 0.5375 | 0.57188 | 0.58437 | 0.70313 | 0.825 | 0.94063 | 0.96875 | 0.98125 | 0.98125 | 0.99687 | 1 | 1
pH 7 | 0.47188 | 0.5375 | 0.88438 | 0.9875 | 0.9875 | 0.99375 | 0.99062 | 0.9875 | 0.99687
pH 9 | 0.28125 | 0.42188 | 0.525 | 0.91875 | 0.89687 | 0.9375 | 0.96563 | 0.98438 | 0.9875
BDAF
HARVESTING

## Slide 6
Wastewater
AD
Clarified Water
Algal treatment
Energy
generation
Residual
N and P
AD and pre-treatments
Activated Sludge
(AS)
Raceway Algae Pond
Harvesting unit
Pre-
treatment
Anaerobic
Digestion

## Slide 7
Algae cell wall
Thermal Hydrolysis (TH):
efficient sludge pre-treatment;
efficient combination of temperature and pressure to strongly effect the algal cell structure;
Enzymes :
low energy treatment;
low knowledge;
DIGESTION ISSUES
Pre-treatment to improve AD
RESIDUAL CELL
- Strong resistance to bacteria degradation
Limited biogas production
Residual intact cell after digestion (40d)

## Slide 8
Experimental condition
Thermal Hydrolysis (TH) system
(autocleave and steam generator):
Algal sample 2% TS at 165°C/8 bar for 30min
sCOD, sProteins, sCarbohydrates
BioMethane Test (BMT):
40ml of sample at VSseed:VSsubstarte = 1:1
20ml nutrient solution*
38°C at 135rpm
Methane/Biogas analyses avery 2-4 days
* Angelidaki, I., Alves, M., Bolzonella, D., Borzacconi, L., Campos, J.L., Guwy, A.J., Kalyuzhnyi, S., Jenicek, P., van Lier J.B.: Defining the biomethane potential (BMP) of solid organic waste and energy crops: a proposed protocol for batch assays. Water Sci. Technol. 59, 927-934 (2009)
Baskerville (Manchester, UK)
DIGESTION
Enzymes
Algal sample 2% TS at 50°C, pH 6 for 24h
sCOD, sProteins, sCarbohydrates

## Slide 9
Chart: sCOD (mg/gVS)
| 105°, 1bar | 120°, 2bar | 145°, 3bar | 155°, 5bar | 165°, 7bar
S. obliquus | 92.8482 | 149.7116 | 211.4921 | 324.957 | 430.8378
C. sorokiniana | 61.5337 | 79.5656 | 161.2725 | 206.9157 | 361.3135
A. maxima | 270.3863 | 476.3948 | 390.5579 | 510.7296 | 828.3262
Chart: 
| Cellulase + Endogalactour. | Alpha amylase | Esterase + Protease | Pectinase | Esterase | Mixture
Scenedesmus | 217.5076 | -20.2599 | 305.4281 | 72.2477 | 79.893 | 458.3333
Chlorella | 46.8 | -65.2 | 166.8 | 22.8 | 110.8 | -73.2
Chart: sCOD (mg/gVS)
| 105°+ S, 1bar | 120°+ S, 2bar | 145°+ S, 3bar | 155°+ S, 5bar | 165°+ S, 7bar
S. obliquus | 116.2258 | 170.7093 | 193.7798 | 346.9563 | 547.0138
C. sorokiniana | 58.829 | 77.8751 | 206.6339 | 211.48 | 457.2769
A. maxima | 343.3476 | 377.6824 | 515.0215 | 409.2275 | 916.309
DIGESTION
Treatments effect (sCOD)

## Slide 10
Chart: sCOD mg/g VS
| 118.33746117859774 | 175.20092250802782 | 236.98143025621891 | 350.44631267820483 | 456.32703314453306 | 25.489281742674706 | 141.71509815699139 | 196.1985794679394 | 219.2690749505976 | 372.44556513228525 | 572.50304593060525
S. obliquus | 0.359 | 0.337 | 0.37 | 0.5 | 0.265 | 0.331 | 0.34 | 0.313 | 0.404 | 0.548
C. sorokiniana | 0.297 | 0.31 | 0.356 | 0.313 | 0.393 | 0.273 | 0.301 | 0.298 | 0.324 | 0.315 | 0.461
A. maxima | 0.12883 | 0.12753 | 0.21975 | 0.175 | 0.25 | 0.14514 | 0.15745 | 0.138 | 0.17298 | 0.23523 | 0.2
DIGESTION
DIGESTED CELL
Biogas production (TH pre-treatment)

## Slide 11
Wastewater
AD
Clarified Water
Algal treatment
Energy
generation
Residual
N and P
Energy balance
Activated Sludge
(AS)
Raceway Algae Pond
Harvesting unit
Pre-
treatment
Anaerobic
Digestion

## Slide 12
Energy Balance TP230K
DAF
BDAF
BDAF
DAF
Full data available: Ometto et all., 2013 “Improving the Energy Balance of an Integrated Microalgal Wastewater Treatment Process”, Waste and Biomass Valorization, DOI: 10.1007/s12649-013-9230-2
Net Energy Balance
(MWh d-1)
Plant Efficiency
(%)
11.30
21.98
9.72
15.86 (+6.14)
6.82 (-2.90)
12.94
21.98 (+17.68)
12.94 (+1.64)

## Slide 13
Conclusions
Harvesting:
- Importance of AOM, particle size and scape;
60-80% energy reduction and 40% coagulant demand reduction using BDAF compare to traditional DAF;
AD pre-treatment:
TH improved the biogas production by 90%.
TH improved the energy production by 50-60%.
Lower condition can be effective depending on the algal characteristics;
Enzymes are a species specific potential alternative;
WWTP balance:
Inclusion of an algae reacotor can generate a more sustainable treatment plant with improved efficiency ranging from 55% (TP25K) to 75% (TP230K).

## Slide 14
Future works
How cultivate algae?
PBR
Open pond
Efficiency
Ballasted flotation
- Pilot plant
Pre-treatments
Pilot plant
Algae/Primary Sludge

## Slide 15
Thanks for your attention
‟Nothing in life is to be feared, it is only to be understood.”
Marie Curie (1867-1934)
Project founded by EU Framework 7 project
Advance Technologies for Water Resources and Management (ATWARM), Marie Curie ITN, No. 238273.
Coordinated by QUESTOR Centre, Queen’s University – Belfast (UK)